## Overview
Preliminary assessment of site solar irradiance
Project | 캔자스
Geographical coordinates | 38.427774°, -97.119141° (38°25'40", -097°07'09")
Report generated | 13 Dec 2024
Generated by | Global Solar Atlas
Map link | https://globalsolaratlas.info/map?s=38.427774,-97.119141,10

## Site_info
Project | 캔자스
Location | Nighthawk Road, Marion County, 캔자스, 미국
Geographical coordinates | 38.427774°, -97.119141° (38°25'40", -097°07'09")
Time zone | UTC-06, America/Chicago [CST]
Elevation | m

## Map_data
Map data
Specific photovoltaic power output | PVOUT_specific | 1586.2 | kWh/kWp
Direct normal irradiation | DNI | 1845.5 | kWh/m²
Global horizontal irradiation | GHI | 1645.1 | kWh/m²
Diffuse horizontal irradiation | DIF | 577.1 | kWh/m²
Global tilted irradiation at optimum angle | GTI_opta | 1930.5 | kWh/m²
Air temperature | TEMP | 13.8 | °C
Optimum tilt of PV modules | OPTA | 35 | °
Terrain elevation | ELE |  | m

## Monthly_averages
Monthly averages
DNI
kWh/m²
Jan | 123.8
Feb | 120.9
Mar | 142.1
Apr | 154.9
May | 164.1
Jun | 185.5
Jul | 202.6
Aug | 183.8
Sep | 164.6
Oct | 153.1
Nov | 134.3
Dec | 117.8
Yearly | 1847.6

## Hourly_profiles
Average hourly profiles
Direct normal irradiation [Wh/m²]
| Jan | Feb | Mar | Apr | May | Jun | Jul | Aug | Sep | Oct | Nov | Dec
0 - 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
1 - 2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
2 - 3 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
3 - 4 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
4 - 5 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
5 - 6 | 0 | 0 | 0 | 0 | 38 | 75 | 40 | 0 | 0 | 0 | 0 | 0
6 - 7 | 0 | 0 | 0 | 122 | 233 | 262 | 257 | 178 | 90 | 0 | 0 | 0
7 - 8 | 0 | 46 | 201 | 322 | 336 | 364 | 371 | 336 | 339 | 280 | 101 | 0
8 - 9 | 253 | 323 | 349 | 401 | 397 | 437 | 453 | 426 | 438 | 434 | 384 | 266
9 - 10 | 409 | 424 | 432 | 463 | 446 | 491 | 522 | 500 | 507 | 501 | 484 | 414
10 - 11 | 472 | 480 | 486 | 507 | 483 | 540 | 570 | 560 | 557 | 540 | 531 | 477
11 - 12 | 504 | 507 | 507 | 536 | 498 | 574 | 621 | 587 | 581 | 567 | 562 | 503
12 - 13 | 521 | 519 | 516 | 534 | 505 | 582 | 623 | 605 | 584 | 570 | 568 | 510
13 - 14 | 516 | 516 | 505 | 519 | 506 | 592 | 624 | 594 | 571 | 555 | 558 | 501
14 - 15 | 505 | 500 | 482 | 497 | 481 | 564 | 602 | 570 | 548 | 530 | 535 | 481
15 - 16 | 457 | 454 | 445 | 452 | 440 | 528 | 565 | 533 | 508 | 484 | 468 | 417
16 - 17 | 329 | 383 | 375 | 392 | 389 | 460 | 499 | 466 | 441 | 379 | 288 | 230
17 - 18 | 28 | 167 | 258 | 305 | 325 | 380 | 419 | 373 | 305 | 100 | 0 | 0
18 - 19 | 0 | 0 | 28 | 117 | 203 | 268 | 298 | 200 | 18 | 0 | 0 | 0
19 - 20 | 0 | 0 | 0 | 0 | 13 | 66 | 71 | 2 | 0 | 0 | 0 | 0
20 - 21 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
21 - 22 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
22 - 23 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
23 - 24 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Sum | 3994 | 4319 | 4584 | 5167 | 5293 | 6183 | 6535 | 5930 | 5487 | 4940 | 4479 | 3799

## Glossary
Acronyms and glossary
Acronym | Full name | Unit | Type of use
DIF | Diffuse horizontal irradiation | kWh/m², MJ/m² | Average yearly, monthly or daily sum of diffuse horizontal irradiation (© 2024 Solargis)
DNI | Direct normal irradiation | kWh/m², MJ/m² | Average yearly, monthly or daily sum of direct normal irradiation (© 2024 Solargis)
ELE | Terrain elevation | m, ft | Elevation of terrain surface above/below sea level, processed and integrated from SRTM-3 data and related data products (SRTM v4.1 © 2004 - 2024, CGIAR-CSI)
GHI | Global horizontal irradiation | kWh/m², MJ/m² | Average annual, monthly or daily sum of global horizontal irradiation (© 2024 Solargis)
GTI | Global tilted irradiation | kWh/m², MJ/m² | Average annual, monthly or daily sum of global tilted irradiation (© 2024 Solargis)
GTI opta | Global tilted irradiation at optimum angle | kWh/m², MJ/m² | Average annual, monthly or daily sum of global tilted irradiation for PV modules fix-mounted at optimum angle (© 2024 Solargis)
OPTA | Optimum tilt of PV modules | ° | Optimum tilt of fix-mounted PV modules facing towards Equator set for maximizing GTI input (© 2024 Solargis)
PVOUT_specific | Specific photovoltaic power output | kWh/kWp | Yearly and monthly average values of photovoltaic electricity (AC) delivered by a PV system and normalized to 1 kWp of installed capacity (© 2024 Solargis)
PVOUT_total | Total photovoltaic power output | kWh, MWh, GWh | Yearly and monthly average values of photovoltaic electricity (AC) delivered by the total installed capacity of a PV system (© 2024 Solargis)
TEMP | Air temperature | °C, °F | Average yearly, monthly and daily air temperature at 2 m above ground. Calculated from outputs of ERA5 model (© 2024 ECMWF, post-processed by Solargis)